Lakes Highway District

National Pollution Discharge Elimination System (NPDES)

NPDES Permit # IDS-028207

2011 Annual Report

Third Permit Year: December 31, 2010 – January 1, 2012

Lakes Highway District

11341 N. Ramsey Road

Hayden, Idaho 83835

(208) 772-7527

Table of Contents

1.	Report Certification	3

2.	Status of Implementing Components of the Storm Water Management Program	4

A.	Storm Water Management Program Components	5

1)	General Requirements:	5

B.	Minimum Control Measures	7

1.) Public Education and Outreach	7

2)	Public Involvement and Participation	9

3)	Illicit Discharge Detection and Elimination	9

4)	Construction Site Storm Water Runoff Control	12

5)	Post – Construction Storm Water Management in New Development and Re-development	14

6)	Pollution Prevention and Good Housekeeping for Municipal Operations	15

C.	Discharges to Water Quality Impaired Receiving Waters	16

D.	Reviewing and Updating the SWMP	16

E.	Transfer of Ownership, Operational Authority, or Responsibility for SWMP Implementation	16

F.	SWMP Resources	16

3.	Summary of Planned Activities for the Fourth Permit Year	17

Appendix A:   2011 Environmental Open House Information

Appendix B:   Permit Tracking Log

Appendix C:   2011 IDDE Technical Memo and EPA Program Evaluation Response Letter

Appendix D:   Update MS4 Map

Appendix E:   Training Information

Attachment:   Revised MS4 Map CD

# Report Certification

Lakes Highway District, NPDES Municipal Separate Storm Sewer System (“MS4”) Annual Report for Permit Year 2011.

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

____________________________________________     	_________________________

J. Marvin Lekstrum, Board Chairman				Date

Lakes Highway District

This report identifies activities undertaken by the Lakes Highway District (“LHD”) during the second (3rd) permit year as required by Part II of the Lakes Highway District Municipal Separate Storm Sewer System (“MS4”), NPDES Permit (permit).  The 2011 permit year, as defined in this report, covers the period between December 31, 2010 – to January 1, 2011.

On November 20, 2008, the United States Environmental Protection Agency (EPA) issued to the Lakes Highway District (District) a storm water discharge permit, NPDES Permit #IDS-028207.  The permit became effective January 1, 2009 and contains requirements for implementation of the permit.

Lakes Highway District shall reapply for a permit reissuance on or before July 5, 2013, 180 days before expiration of Permit #IDS-028207 if the District intends to continue operations and discharges from the MS4 beyond December 31, 2014.

# Status of Implementing Components of the Storm Water Management Program

The Lakes Highway District’s Storm Water Management Program is administered under the guidance of the LHD Engineer.

In anticipation of this permit, the LHD created the District Engineer position in June of 2008 and then hired an engineer technician in 2010.  In addition to the engineering staff, the LHD consists of three full time road supervisory positions that assist with the storm water program.  The duties of the staff are briefly described as follows:

| Table 1. NPDES Staff Positions and Duty Descriptions |  |  |
| --- | --- | --- |
| Position | Position Type | Duty Description |
| District Engineer | Full-Time | Oversees and Coordinates Storm Water Management Program |
| Engineer Technician | Full-Time | Assists with Watershed Mapping and District Engineer with Implementation of the Stormwater Program. |
| Road Supervisor | Full-Time | Oversees and Responsible for Highway District Operations |
| Assistant Road Supervisor | Full-Time | Responsible Maintenance Activities, Approach Permitting, assists with Construction Inspections. |
| Road Foreman | Full-Time | Oversees work performed by the District to include construction, maintenance activities, stormwater and erosion control |

Additionally, Maintenance and Operations staff at LHD participate in the implementation of the NPDES permit requirements.  Maintenance and Operations staff observe roads on a daily basis and are responsible for reporting potential storm water and erosion control issues impacting LHD Roads.

## Storm Water Management Program Components

Program status is based upon the NPDES permit issued by the EPA in November of 2008 and the schedule of compliance included in Part II of the Permit.  The status of each component is described in this section.

### General Requirements:

#### Develop, Implement and Enforce a Storm Water Management Program (“SWMP”).

During the first permit year, the LHD began the development of a SWMP.  The SWMP is a 3-ring binder located at the District’s main office and includes the following information:

| SWMP Contents |  |
| --- | --- |
| Permit | Permit Comments |
| Annual Report | Resolutions |
| Facility Operations Plan | IDDE Program |
| Illegal Dumping Procedures | Spill Response Plan |
| Training Log | MS4 Mapping |
| Public Tracking Log | Correspondence |
| Construction General Permit Requirements | Storm Water Pollution Prevention Plan Guidelines |

As an initial step towards the development of a SWMP, the LHD Board approved Resolution 2009-12 Establishing NPDES Permit Programs and Local Requirements.  Resolution 2009-12 emphasizes the following new and existing requirements:

| Resolution 2009-12 |  |
| --- | --- |
| Description | Policy / Standards |
| All construction activities performed by the Highway District, disturbing more than 1-acre, shall comply with EPA’s Construction General Permit (CGP). This shall not be confused with Maintenance activities that do not modify the original line, grade and/or original intent of the facility as clarified by the 2003 CGP Fact Sheet. | Existing Policy District Stds |
| As part of the permitting process for work within public right-of-way and when storm water from construction projects have the potential to drain into waters of the US, contractors and their on-site foreman shall be pre-certified by the Storm Water Erosion Education Program (SEEP). | New Policy |
| All construction site operators working within District Rights-of-Way on sites that drain to waters of the US shall have the SEEP Field Guide on-site at all times during construction for guidance in implementation of appropriate erosion control measures. | New Policy |
| Lakes Highway District Staff shall report storm water violations to the Kootenai County Code Enforcement Officer. | New Policy |
| Lakes Highway District Staff shall report and publish on the District’s website that all work within the Highway District shall be in accordance with the Associated Highway District Standards, the Kootenai County Site Disturbance Ordinance, requirements for SEEP Training and other NPDES Permit requirements. | New Policy |

Additionally, in 2010 Resolution 2009-12 was revised by resolution 2010-04.  The following table summarizes the Districts current policy with respect to NPDES Permit Programs and Local Requirements:

| Resolution 2010-04 |  |
| --- | --- |
| Description | Policy / Standards |
| All construction activities performed by the Highway District, disturbing more than 1-acre, shall comply with EPA’s Construction General Permit (CGP). This shall not be confused with Maintenance activities that do not modify the original line, grade and/or original intent of the facility as clarified by the 2003 CGP Fact Sheet. | Existing Policy District Stds |
| As part of the permitting process for work within public right-of-way and when storm water from construction projects have the potential to drain into waters of the US, contractors and their on-site foreman shall be pre-certified by the Storm Water Erosion Education Program (SEEP), or other equivalent training program approved by Lakes Highway District. | Revised Policy |
| All construction site operators working within District Rights-of-Way on sites that drain to waters of the US shall have the SEEP Field Guide, or other District approved guide, on-site at all times during construction for guidance in implementation of appropriate erosion control measures. | Revised Policy |
| Lakes Highway District Staff shall report storm water violations to the Kootenai County Code Enforcement Officer. | Existing Policy |
| Lakes Highway District Staff shall report and publish on the District’s website that all work within the Highway District shall be in accordance with the Associated Highway District Standards, the Kootenai County Site Disturbance Ordinance, requirements for SEEP Training and other NPDES Permit requirements. | Existing Policy |

## Minimum Control Measures

### 1.) Public Education and Outreach

#### a) On-going Public Education Program

In 2009, LHD began working with the City of Coeur d’Alene and Post Falls to facilitate implementation of a televised Public Service Announcement (“PSA”).  The PSA will inform the public of local storm water and erosion control issues.  The PSA consists of 2-30 minute advertisements prepared by our local Storm Water Erosion Education Program (“SEEP”).  In 2010 these PSA’s were added to the District’s website, www.lakeshighwaydistrict.com.

In addition to the PSA’s and website updates, LHD presented its NPDES Permit at the following events:

| Event | Date |
| --- | --- |
| Environmental Open House, Coeur d’Alene City Library | September 9, 2010 |
| Hayden Lake Watershed Association, Annual Meeting | 2010 |
| Hayden Lake Watershed Association, Annual Meeting | July 26, 2011 |
| Multi-Agency Environmental Open House, held at the Coeur d’Alene Public Library | September 27, 2011 |

Refer to Appendix A for the 2011 Environmental Open House Flyer and sign-in sheet of attendees.  This open house was sponsored by multiple local public agencies, including Lakes Highway District.

Planned Activities for yr. 2012 and beyond:

Continue working with other local permit holders to develop and advertise PSA’s.  Additionally, Lakes Highway District will continue utilizing our website to inform the public regarding the importance of storm water and erosion control BMP’s.

#### Distribution of Relevant Storm Water Information

Again, as a tool to educate and inform the public, the LHD established www.lakeshighwaydistrict.com  during the first permit year.  This website has continually been updated since implementation.  Information posted in 2011 includes: the 2010 Annual Report, Updated Mapping and Notification of the Multi-Agency Environmental Public Open House.  .

In the third permit year (2011), LHD distributed appropriate information (SEEP Training and Field Guides) to homeowners and contractors who obtained permits for construction within District right-of-way.  Additionally, the LHD offers SEEP information to the public and displays SEEP Field Guides at the District Office.  Refer to the permit tracking log included in Appendix B for SEEP information.

Planned Activities for yr. 2012 and beyond:

Distribute appropriate and relevant stormwater information to employees, the public and business with whom the District interacts.

### Public Involvement and Participation

In 2011 public outreach consisted of providing information through our website and attending meetings such as the Hayden Lake Watershed Association Annual Meeting and the Coeur d’Alene Area Multi-Jurisdiction Environmental Open House.

Planned Activities for yr. 2012 and beyond include continuation with similar outreach opportunities completed in 2011.

### Illicit Discharge Detection and Elimination

#### a.) Develop and implement a program to detect and eliminate illicit discharges.

In 2010, the LHD prepared an Illicit Discharge Detection Elimination (“IDDE”) Program as part of our 2nd year permit requirements.  This program also includes a spill response plan, illegal dumping procedures and training for LHD Staff on how to respond to illicit discharges.  The IDDE Program is available for review on our website at www.lakeshighwaydistrict.com.

In 2011, LHD performed Outfall Reconnaissance Inventory (ORI) within the MS4 based on the following minimum requirements defined in the 2010 IDDE Program:

- Visit outfalls within the designated area defined in the program a minimum of one time during the months of July and August.

- Note any observed color, odor, clarity, floating solids, foam, sheen, suspended or settled solids or other indicators of pollution.

- Perform additional water quality testing may also be warranted.  If deemed necessary by the permit coordinator, obtain a sample kit from Accurate Testing Labs in Hayden or other approved source and sample for parameters identified.

- Compare background tests to dry weather sampling results, if water present during dry weather inspections.

- Prepare a technical memo identifying the following: Work Preformed, Results from Water Quality Testing, Illicit Discharge Detected, Reported and Results

Refer to Appendix C for the Technical Memo prepared for work completed in 2011.

Planned Activities for yr. 2012 and beyond includes continued implementation of the IDDE Program Work Plan.

#### b.) Effectively Prohibit Non-Storm Water Discharges

In 2010, LHD implemented Resolution 2010-04 and the IDDE Program found on our website.  These mechanisms define the jurisdictional authority and responsible agency for enforcement.

Future work includes implementation of the IDDE Program.  Additionally, future work to address this permit requirement will include notify the County Code Enforcement Officer, EPA and IDEQ for enforcement assistance if the District observes what it deems to be repeated violations of state surface water quality standards (IDAPA 58.01.02.200).

#### c.) Prohibit Non-Storm Water Flows

Known controls or conditions to prohibit non-storm water flows include:

| Controls or Conditions | Description | Potential Issue |
| --- | --- | --- |
| IDAPA 58.01.16.400 and Recommended Standards for Wastewater Facilities, Ch 30.38 – Sewer System Design | Require sewer systems to be designed to protect water supplies | Prohibits Cross Connections of Sewer and Storm Sewers. |
| IDAPA 58.01.03.004.05 Failing System | Requires owners of failing septic tanks to obtain a permit and repair the system. | Failing Septic tanks could cause surface discharge to a storm sewer system. |
| IDAPA 58.01.03.007 Septic Tank Design and Construction Standards | Specifies minimum requirements for design to prohibit failures | Improperly designed system could cause surface discharge to a storm sewer system. |

The LHD will report any observed discharges that impact water quality within the MS4 whether the discharge is related to stormwater or non-stormwater flows.  Observations will be reported to the County Code Enforcement Officer, EPA and IDEQ as previously mentioned in this report for inspection and enforcement.  In 2011, no reports were made.

Future work includes notifying the EPA of any new local controls or conditions placed on the types of non-stormwater discharges.    Work will also include continued inspections and notifications to the County and EPA through subsequent annual reports.

#### d.) Complete a Comprehensive MS4 Map

In 2010, LHD prepared a comprehensive MS4 Map to include jurisdictional boundaries, the location of District-owned or operated storm sewers, culverts, roads with ditches and other conveyances, the location of all known inlets and outfalls, points at which LHD’s MS4 is interconnected with other potential MS4’s, names and locations of all waters that receive discharges.

The LHD’s MS4 map was originally posted to our website in 2010 and updated posting in 2011.  The 2011 updates included updating outfall symbols and inclusion of an aerial photographic background.    Refer to Appendix D for the updated MS4 Map.  An updated disc is included with this report.

Future work will include providing updates of the Districts MS4 Map as required to reflect any changes that occur.

#### e.) Begin an On-Going Education Program

LHD’s on-going education is a coordinated effort with other area permit holders.  In 2009, , LHD began working with the City of Coeur d’Alene and Post Falls to televise a Public Service Announcement (“PSA”) during the first permit year.  The PSA will inform the public of local storm water and erosion control issues.  The PSA consists of 2-30 minute advertisements prepared by our local Storm Water Erosion Education Program (“SEEP”) and again these PSA’s are now posted to www.lakeshighwaydistrict.com.

As part of LHD’s education program, staff attends annual Environmental Open Houses and area Watershed Association Meetings.  Events such as these help LHD educate those who are interested in our programs.  Refer to Appendix A for the sign in sheet at the 2011 Open House.

Planned Activities for yr. 2012 and beyond include working with other local permit holders to develop and advertise PSA’s.  Additionally, Lakes Highway District will continue utilizing our website to inform the public regarding the need to eliminate Non-Stormwater flows if they are determined to be a source of contaminates.

Planned activities should also include a training program as identified in our IDDE Program for Highway District Employees to look for signs of illicit discharges.

#### f.) Begin Dry Weather Screening for Non-Stormwater Flows from Outfalls

During the third permit year (2011) LHD began implementation of its Illicit Discharge Detection and Elimination System, Dry Weather Screening for non-stormwater flows.  This work was performed in accordance with LHD’s IDDE Program Work Plan. Refer to Appendix C for the Technical Memorandum prepared to summarize 2011 work.

Planned Activities beginning in the third permit year include addressing non-stormwater discharge through our MS4 System.  LHD will screen outfalls during dry weather in accordance with the IDDE Program. If flows are discovered during dry weather, LHD will analyze whether or not the flows are an “allowable non-stormwater discharge” (i.e. groundwater, as described in Part I.C.1.c of the permit and Section 2.B.3.c of this report) or if it needs to be removed/eliminated.  LHD will provide the necessary means to expeditiously follow-up and eliminate such illicit discharges for our MS4.

#### g.) Inventory all industrial facilities

During the third permit year (yr. 2011) LHD determined through an analysis of issued permits that there’s currently no industrial facilities located within the MS4 draining to Hayden Lake.

Planned Activities for 2012 and beyond include providing necessary inventories, to include the point of discharge, for any industrial activity as defined by 40 CFR 122.26(b)(14)(i)-(xi) within the MS4, LHD will provide the.

### Construction Site Storm Water Runoff Control

#### a.) Develop, Implement and Enforce Program to Reduce Pollutants in Storm Water Runoff to the MS4 for Construction Activities Conducted or Overseen by the Highway District

In 2009, LHD through Resolution 2009-12 and again by Resolution 2010-4 has required all construction projects within the MS4 to be performed in accordance with the EPA Construction General Permit requirements.

Planned Activities for yr. 2012 and beyond includes implementation of Resolution 2010-4.  All work within LHD Right-of-Way requires a permit.  Special Conditions of this permit require contractors to comply with Resolution 2010-4.

#### b.) Provide Adequate Oversight and Direction to Contractors Working on Highway District Projects

The Highway District requires all construction projects within the District, whether performed by the District or under the supervisor of, to be in conformance with the EPA, Construction General Permit.  Additionally, the Highway District requires that construction conform to the Associated Highway District Standards and the Kootenai County Site Disturbance Ordinance.  The LHD is committed to provide sufficient resources to oversee and direct contractors on work within the MS4.  Lakes Highway District tracks issued permits and location with respect to the MS4.  Refer to Appendix B LHD’s tracking log.

#### c.) Review and Update Existing Regulatory Mechanism

In 2009, LHD completed a review of existing policies.  On December 22, 2009 the Board provided official direction to staff through Resolution 2009-12 that not only clarified existing District requirements, but also implemented new requirements for all work within the public right-of-way to be performed under the training of SEEP.  Additionally, through Resolution 2009-12 LHD will report all non-storm water discharges to the County Code Enforcement Officer as a potential violation to the Kootenai County Site Disturbance Ordinance.  In 2010, Resolution 2009-12 was updated as previously discussed in this report.

Planned Activities for yr. 2012 and beyond include documentation of reporting to the County Code Enforcement Officer and providing written documentation as part of the Annual Report.

#### d.) Publish and Distribute Local Requirements for Construction Site Operators to Implement Appropriate Erosion and Sediment Control

Efforts during the first permit year included publishing of the “North Idaho Stormwater Erosion & Sediment Control Field Guide”.   LHD provides SEEP Field Guides to interested public though our office and also to Construction Operators who are permitted to do work within LHD right-of-way.

Planned Activities for yr. 2012 and beyond include distribution of the “North Idaho Stormwater Erosion & Sediment Control Field Guide” to all Contractors who obtain permits to work within LHD’s MS4 road right-of-way.

#### Develop Procedures for Reviewing all Pre-Construction Site Plans for Potential Water Quality Impacts

Resolution 2010-4 requires construction site operators within road rights-of-way under the jurisdiction of LHD to obtain a permit from the District.  These permits are evaluated to ensure appropriate BMP’s are in-place for site stabilization and to ultimately prevent stormwater runoff.  Work outside of the road right-of-way, under the jurisdiction of Kootenai County and requires individuals performing work to comply with Kootenai County Site Disturbance Ordinance No. 374.  Lakes Highway District tracks issued permits and location with respect to the MS4.  Refer to Appendix B for LHD’s tracking log.

Planned Activities for yr. 2012 and beyond include implement Resolution 2010-4 and review BMP’s for work performed by permit in LHD Rights-of-Way.

#### Implement a Program to Receive, Track and Review Information Submitted by the Public Regarding Construction Site Erosion and Sediment Controls

In 2010, LHD implemented a separate email account that is use to assist with tracking public comments related to stormwater.  This email address is posted on our website for the public to directly notify staff at LHD.  Additionally, this email account is used to notify staff of phone calls received regarding stormwater related items and/or notifications to the County Code Enforcement Officer.  All correspondence to/from this tracking log is documented on a form on the inside cover of a three ring binder held in the District Office.  Refer to Appendix B LHD’s tracking log.

Planned Activities for yr. 2012 and beyond include continued updates, improves and use the established tracking log.

#### Develop and Implement Procedures for Site Inspection and Enforcement Measures Established as Required in Part II.B.4.c and d of the Permit

In 2008 the Lakes Highway District adopted the Highway Standards for the Associated Highway Districts of Kootenai County, Idaho.  These standards provide procedures for design, construction operations and final construction acceptance (inspection) by the District.  As part of the Districts 2010-04 Resolution and Illicit Discharge Detection and Elimination Program, the District will inspect construction sites that are permitted within the MS4 to ensure erosion control is in place during construction and that the construction site is clean.  Violations will be documented and reported to the Kootenai County Code Enforcement Officer and/or EPA.

For construction performed in the development of private property, work must comply with the Kootenai County Site Disturbance Ordinance, which addresses compliance and enforcement of stormwater and erosion control.  Additionally, when called upon by the Kootenai County to review Site Disturbance Plans and other improvement plans within its MS4, the District will provide a review of the temporary erosion control measures in addition to its review for compliance with the Associated Highway District Standards.

Planned Activities for yr. 2011 and beyond:

Develop and implement procedures for site inspections for work within the road right-of-way.  Enforcement shall be in accordance with the IDDE Program identified authority.

#### Comply with the Construction General Permit and all Other Relevant Local Requirements for Erosion, Sediment and On-Site Materials Control on Public Construction Projects.

As specified in Resolution 2010-4, LHD is committed to complying with the CGP for all construction projects.

### Post – Construction Storm Water Management in New Development and Re-development

#### a.) Implement and Enforce Post-Construction Site Runoff from Developments

LHD does not have the authority over development needed to directly comply with this requirement.  Kootenai County is the regulatory authority over developments and re-developments.  Development is required to comply with the Kootenai County Site Disturbance Ordinance No. 374.  Only at such time that a development is complete and finally stabilized will the Highway District consider accepting roads within a development.

Since LHD’s authority is limited to road rights-of-way accepted into the District, future work on this item will include:

- The District will work with the County and other agencies where it is able to, in keeping with the intent of the above requirements.

- When called upon by the County to review Site Disturbance Plans and other improvement plans within the Districts MS4, the District will provide a review of the erosion control plans in addition to review for compliance with the Associated Highway District Standards.

- Notify the County Code Enforcement Officer of site runoff from developments for enforcement under the Kootenai County Site Disturbance Ordinance No. 374.

- When appropriate, LHD will encourage the County to require drywells to ensure all runoff is retained on-site.

#### Implement Policy to Address Post-Construction Site Runoff

In accordance with LHD Resolution 2010-04, LHD will notify the County Code Enforcement Officer of site runoff from developments for enforcement under the Kootenai County Site Disturbance Ordinance No. 374.  When appropriate, LHD will encourage the County to require drywells to ensure all runoff is retained on-site.

#### Ensure Proper Long Term Operation and Maintenance of Permanent Stormwater Management Controls

Permanent stormwater management controls outside of the road right-of-way are not within the regulatory authority of the Highway District.  With respect to permanent stormwater controls within the road right-of-way, acceptance of roads by the Board of Highway District Commissioners ensures funding of long term operation and maintenance.

If new roads are accepted by the Highway District for maintenance, LHD ensures proper long-term operation and maintenance of permanent stormwater management controls within the road right-of-way under the jurisdiction of LHD.

#### Develop and Implement Processes for Pre-Construction Plan Review of Permanent Storm Water Management Controls

To be addressed in the fourth permit year (yr. 2012).

### Pollution Prevention and Good Housekeeping for Municipal Operations

#### a.) Develop and Implement an Operation and Maintenance Program

In 2010, LHD formalized an operations and maintenance plan for the operations facility on Ramsey Road.  Refer to LHD’s website for programs.  Future work will include implementation of the Operations and Maintenance Program.

#### b.) Develop and Conduct Appropriate Training for Personnel

In 2010 and 2011, LHD provided staff Municipal Storm Water Pollution Prevention Training (Storm Watch).  Training acknowledgement is included in the Storm Water Management Program Binder and attached hereto in Appendix E.   Future work on this item will provide continued and appropriate training related to optimum maintenance practices for the protection of water quality.

#### c.) Prepare a Storm Water Pollution Prevention Plan for the LHD Maintenance Yard

The LHD Maintenance yard is located outside of the Coeur d’Alene Urbanized Area and MS4 Boundary.  Therefore action contained in Part II.B.6.c is not specifically required.  No further action will be taken under this permit.

## Discharges to Water Quality Impaired Receiving Waters

Refer to discussions in Part 2.B.1-6 of this annual report for details regarding how LHD intends to control discharge of pollutants.

## Reviewing and Updating the SWMP

LHD proposes no changes to the Stormwater Management Program.

## Transfer of Ownership, Operational Authority, or Responsibility for SWMP Implementation

There are no new transfers of ownership, operational authority or responsibility for SWMP implementation during the first permit year.

## SWMP Resources

The Highway District is committed to providing the necessary funding for implementation the NDPES permit requirements as specified in Resolution 2009-12.

Planned Activities for yr. 2011 and beyond:

The LHD will continue to provide the necessary resources and funding for implementation of the permit.

# Summary of Planned Activities for the Fourth Permit Year

| Annual Report Section Reference | Description of Activities Required |
| --- | --- |
| General | Lakes Highway District will reapply for a permit reissuance on or before July 5, 2013, 180 days before expiration of Permit #IDS-028207. |
| Sec 2.B.1.a | Continue working with other local permit holders to develop and advertise PSA’s. Additionally, Lakes Highway District will continue utilizing our website to inform the public regarding the importance of storm water and erosion control BMP’s. |
| Sec 2.B.1.b | Distribute appropriate and relevant stormwater information to employees, and to citizens and business with whom the District interacts |
| Sec 2.B.2 | Post appropriate SWMP and all Annual Reports on our Website. |
| Sec 2.B.3.a | Implement the IDDE Program |
| Sec 2.B.3.b | Implement the IDDE Program |
| Sec 2.B.3.c | Notify EPA of any new Controls and Report potential Illicit Discharge to the Regulatory Authority. |
| Sec 2.B.3.d | Update, Improve MS4 Map |
| Sec 2.B.3.e | Continue to advertise via PSA’s and Website |
| Sec 2.B.3.f | Dry Weather Screening as define in the IDDE Program |
| Sec 2.B.4.a | Continued implementation of Resolution 2010-4. All work within LHD Right-of-Way requires a permit. Special Conditions of this permit require contractors to comply with Resolution 2010-4. |
| Sec 2.B.4.b | Continue to Provide Oversight on Construction Projects |
| Sec 2.B.4.c | Provide Documentation of Code Enforcement Actions |
| Sec 2.B.4.d | Distribute SEEP Field Guide |
| Sec 2.B.4.e | Implement Resolution 2010-4 and review BMP’s for work performed by permit in LHD Rights-of-Way. |
| Sec 2.B.4.f | Continue to update, improve and use the established tracking log |
| Sec 2.B.4.g | Develop and implement procedures for site inspections for work within the road right-of-way. Enforcement shall be in accordance with the IDDE Program identified authority |
| Sec 2.B.5.a | LHD will notify the County Code Enforcement Officer of site runoff from developments for enforcement under the Kootenai County Site Disturbance Ordinance No. 374. When appropriate, LHD will encourage the County to require drywells to ensure all runoff is retained on-site. |
| Sec 2.B.5.b | LHD will notify the County Code Enforcement Officer of site runoff from developments for enforcement under the Kootenai County Site Disturbance Ordinance No. 374. When appropriate, LHD will encourage the County to require drywells to ensure all runoff is retained on-site. |
| Sec 2.B.5.c | If new roads are accepted by the Highway District for maintenance, ensure proper long-term operation and maintenance of permanent stormwater management controls within the road right-of-way under the jurisdiction of LHD. |
| Sec 2.B.5.d | Develop and implement a process for preconstruction plan review of permanent stormwater controls. |
| Sec 2.B.6.a | Implement the Operations and Maintenance Program. |
| Sec 2.B.6.b | Provide training related to optimum maintenance practices for the protection of water quality. |